## Discontinued Parts Scooters
| Omschrijving | Calypso (groen) | Trophy | Winner | Trophy 20 | Wheelbase
01500.2212 | BEENSTEUN ONTGRENDELVEER
00000.3500 | STELSCHROEF BZK M6X6 D913/VZ
1002646 | Motor Brush 10 x 8
1008307 | Contact sleutel Trophy (vanaf 09/2007)
9000542 | Claxon K63 6V
9006111 | Key switch Trophy DPST BU
00000.4312 | M8x16_DIN933_8.8_ZP_Hex Head Screw
3000209 | Knee Cushion Std L=R incl mounting set
00000.3207 | SCHROEF BCK/KR M5X20 D7985
9002006 | Front cap, plastic grey ø80/ø83 X H9 mm
00000.2101 | SLUITRING VLAK 3XD M5 D9021/VZ
1015816 | Beensteun vergrendellip verlengd per set
1018759 | Indicator light 12V Trophy (set)
9002760 | Battery 78Ah C20, Service
9006998 | Key switch Tiller cover bottom replacement se
1017748 | Mount set headr, Nuage PLS for Sedeo Original
00000.1704 | BORGMOER M12 D985/8/VZ
BS10422 | Comfort beensteunen ZB : 55
9007359 | Gasspring bloc o lift 300N modified
1001276 | Holding Elastic Band
BS10420 | elektrische beensteunen 55
9003470 | Front bumper 4w
9006999 | Key sw Tiller cover bottom (switch) repl set
9006110 | Speed pot assy Trophy 20 BU
1015117 | Inner tube Cheng Shin 3.00-8 Schrader valve
1007448 | afdekkap voor m10 din 912
1015149 | Comfort electrisch met kuitplaten tbv ZB 42
1015366 | Front cover hraphite black metallic, Trophy20
1002555 | Bovenkant Console Trophy standaard
9003464 | Front fender buran 4w left
9003465 | Front fender buran 4w right
1015387 | Bevestiging spiegel en kapje
9003473 | Fender front 3w right
9003472 | Fender front 3w left
9003459 | Nose front bottom
1002840 | Fixationring Skiffy ø10mm, thickness 4mm
9002449 | Power harness S-Drive assy
9006128 | Basket interface Trophy
1015365 | Fr cov sparkling champagne metallic, trophy20
9003469 | Sik
BS10520 | Elektrische Bariatric beensteunen
161.00161.000 | CONSOLE PANEL COVER ASSY
1007947 | Transaxle Assy, Trophy Egis
1015146 | Comfort manueel met kuitplaten tbv ZB 46
1015148 | Comfort manueel met kuitplaten tbv ZB 54
9003156 | Winner ID service set
110.00022.000 | FRONT FORK ASSY WINNER-3W
9003485 | Charger socket Winner 15A assy
9002460 | Main harness Trophy S-Drive
015.07010.002 | Head set, Winner TW
9001171 | Wheel hub
1012526 | Assy Fender
108.00281.000 | Handle for brake, tilt and backrest
1001325 | Horn
9004132 | Fender bracket LHS
1002571 | Trophy spare contact key
9002182 | Speed switch assy, for use on Egis, TR6
9002457 | S-Drive 120A + connector cover
1008572 | Voetgas Trophy S-Drive
1003225 | Brake kit Trophy Egis, microswitch closed, pr
9000496 | Tiller PCB
9000522 | Toggle switch 600h assy
19044 | Joystick rubber hoesje PG Pilot+
9000812 | Bracket
9002758 | Battery 34Ah C5 / 40Ah C20, Service
9002673 | Ruilstuur met gashendel links rechts, S-Drive
1009683 | Console panel cover assy S-drive
BS10327R | Comfort beensteun zonder onderbuis R
BS10002L | St. beenst met kuitplaat Links
05364.9123 | Armframe opklapbaar rechts
BS10002R | St. beenst met kuitplaat Rechts
9003087 | Console 8P Winner SDrive Assy
05364.9223 | Armframe opklapbaar links
17046 | hoofdsteunhouder tbv bandenrug
BS10327L | Comfort beensteun zonder onderbuis L
1001361 | Charging harness with plug, Winner
1001310 | Gas spring
9007365 | Assy dashboard top
1012520 | Assy Seat-post Captain seat Std
1012531 | Assy Tiller bearing
9000537 | Nose harness assy, TR6
9004653 | Nose harness assy TR6 version 2
1001340 | Horn switch cable assy
9006559 | Cable assy gasspring
9004174 | Igli clip bea MCM-12-03
9004163 | Pin hinge 12 5,2 M8
9004164 | Pin hinge 12 8 M8
1001315 | Pivot pin
1015142 | Standaard met kuitplaten tbv ZB 46
1015150 | Comfort electrisch met kuitplaten tbv ZB 46
1015145 | Comfort manueel met kuitplaten tbv ZB 42
1015147 | Comfort manueel met kuitplaten tbv ZB 50
9000783 | Power harness assy, TR6
164.00072.000 | PCB assy Calypso 20V zener (>2002)
1001328 | Key switch wire assy
9000526 | Main fuse harness assy, TR6
C43004 | SEAT LEVER
321301 | CANNON JACK
17022 | Hoofdsteun montageplaat rug bev.
1015110 | Outer tire Cheng Shin 3.00-8; C-248 black
1001208 | PCB main board
1008344 | Ruilstuur met gashendel links en rechts Egis
1004575 | Front cover assy, Winner-4w TW
1015292 | P-CLIP 6MM KABELHOUDER/STUUR zwart
03411.0190 | Kerb climber shoe
1012313 | Set Transaxle brush and cover
1015137 | Standaard met kuitband tbv ZB 42
1015138 | Standaard met kuitband tbv ZB 46
1015151 | Comfort electrisch met kuitplaten tbv ZB 50
1015152 | Comfort electrisch met kuitplaten tbv ZB 54
14051 | onderbuis = lang (+20 cm) =
9003297 | Brake kit Winner, production from 45/08
9004420 | Battery strap assy
9004493 | Pin hinge 8 16
9004652 | Screw push rivet with thread black D6 S3-5
BS10326L | Alleen VELA Elektr. beenst. bovenb.-ophang. L
BS10326R | Alleen VELA Elektr. beenst. bovenb.-ophang.R
00000.4311 | ZESKANT TAPBOUT M8X20 VZ
001.03010.003 | ZESKANT BOUT M8 x 125 D931 8.8 VZ
1001337 | Console panel cover
1001343 | Head light switch cable assy
1008347 | Stuur met gashandel links en rechts
1011584 | EM Brake Set Winner CT
1012541 | Assy rear cover blue
1015140 | Standaard met kuitband tbv ZB 54
1015179 | Tiller PCB Trophy 20
15301 | Headrest cushion small, Torso+
161.00151.000 | CONSOLE BOTTOM COVER ASSY
19028 | folie verlichting actuators 7-knops
22001 | koplamp halogeen
257.00001.000 | Floor mat 3w, Winner
41044 | hydroblock
41231 | kantelkabel kompleet -Base1-
4506450 | Spie voor Motor Elektr. rolsto
9000551 | Wheel hub
9002672 | Ruilstuur met gashendel rechts, S-Drive
9003109 | Power harness Winner S-drive
9003155 | Wig wag assy
9003460 | Nose back
9006191 | Drum brake lever switch harness assy
9006240 | M5x10 buitenzeskant met flens taptite
PI10030 | Begeleidersbesturing incl mont
00000.1402 | ASBORGRING 8MM D6799 RVS
00000.1507 | ZESK.MOER M4 D934/8VZ
00000.1662 | ZESK.MOER LAAG M4 D439B/VZ
00000.1802 | DOPBORGMOER M8 D986/VZ
00000.2102 | SLUITRING VLAK 3XD M6 D9021/VZ
00000.2104 | SLUITRING VLAK 3XD M10 D9021/V
00000.2106 | SLUITRING VLAK 3XD M4 D9012/VZ
00000.2108 | SLUITRING VLAK 3XD M3 D9021/VZ
00000.2201 | VEERRING M5 D127B/VZ
00000.2204 | M10_DIN127B_ST_ZP_Spring Lock Washer
00000.2302 | M6_DIN125A_PA6.6_Nylon_Plain Washer
00000.3205 | SCHROEF BCK/KR M5X30 D7985
00000.3206 | SCHROEF BCK/KR M5X16 D7985
00000.3212 | SCHROEF BCK/KR M4X25 D7985
00000.3219 | SCHROEF BCK/KR M4X16 D7985
00000.3231 | M3x10_DIN7985_4.8_ZP_Cross Pan Head Screw
00000.3291 | SCHROEF BCK/KR M5X12 KS
00000.3304 | PLAATSCHR.PL.VERZ/KR 4.2X16
00000.3600 | SCHROEF PLV M4X16 D965/4.8/VZ
00000.3623 | SCHROEF PL.VERZ/KR M3X8 VZ
00000.3624 | SCHROEF PLV/KR M5X8 VZ D965
00000.3701 | BUTTONHEAD M6X40 VZ
00000.3706 | M8x25_ISO7380_10.9_ZP_HS Button Head Srew
00000.3716 | M5x12_ISO7380_10.9_ZP_HS Button Head Srew
00000.3723 | BUTTONHEAD M6X8 VZ.
00000.4004 | M6x45_DIN6912_8.8_ZP Head cap screw
00000.4026 | M8x20_DIN912_8.8_ZP_HS Head Cap Srew
00000.4060 | CIL KOPSCHR INW ZK M4X20
00000.4105 | ZESKANT BOUT M8 x 40 D931/8.8 VZ
00000.4110 | ZESKANT BOUT M10 x 70 D931/8.8 VZ
00000.4112 | ZESKANT BOUT M8 x 55 D931/8.8 VZ
00000.4121 | ZESKANT BOUT M12 x 70 D931/8.8 VZ
00000.4135 | ZESKANT BOUT M8 x 25 D931/8.8
00000.4309 | ZESKANT TAPBOUT M6X20 VZ
00000.4315 | ZESKANT TAPBOUT M10X20 VZ
00000.4319 | ZESKANT TAPBOUT M8X90 VZ D933
00000.9002 | INSTEEKDOP ROND 22 ZWART
00001.1110 | POPNAGEL RND 3X10 D7337A
00001.1462 | STICKER BANDENSPANNING 2.7 BAR
001.03010.002 | ZESKANT BOUT M8 x 65 DIN931 8.8vz
001.15010.001 | D7337A BLINDKLINKNAGEL4.8x14
001.15010.002 | Snap button, Can
001.20020.005 | Latch frame, Calypso
005.01200.000 | Warning lights switch, Calypso
008.00000.301 | Sticker Calypso Deluxe
008.00000.371 | LABEL TILLER ADJUST
008.00000.391 | LABEL CHARGER
008.00000.401 | LABEL WINNER
008.00000.411 | LABEL ENGAGE/RELEASE
008.00000.481 | LABEL INDICATOR ARROWS
008.00000.591 | LABEL CIRCUIT DIAGRAM WINNER
008.00000.601 | LABEL CONSOLE SPEED KNOB WINNER
008.00000.611 | LABEL CONSOLE SWITCHES UPPER
008.00000.621 | LABEL CONSOLE SWITCHES LOWER
013.00000.022 | SPRING LOCK WINNER
013.00061.000 | Rear suspension spring, Calypso
015.07000.001 | Bearing set tiller 3/4, Calypso
015.07030.001 | BEARING WHEEL WINNER
03411.2100 | Kerb climber gasspring
052.00312.000 | Rear cover assy silver, Winner TW
052.00342.000 | FRONT TILLER SHROUD WINNER
052.00361.000 | Front cover 3w assy green with mat, Calypso
052.00371.000 | Rear cover assy green, Calypso
052.00392.000 | Rear cover silver, Winner TW
052.00452.000 | Battery cover assy blue, Winner TW
052.00531.000 | Front cover 4w assy red with mats, Calypso
052.00541.000 | Front cover 4w assy green with mats, Calypso
052.00551.000 | Front cover tiller green, Calypso
052.00561.000 | Battery cover assy red, Calypso
052.00571.000 | Battery cover assy green, Calypso
052.00581.000 | Rear cover green, Calypso
055.00241.000 | Main harness, Calypso
055.00251.000 | Emergency light harness, Calypso
055.00261.000 | Rear indicator harness, Calypso
055.00291.000 | Charger harness, Calypso
055.00301.000 | Battery harness, Calypso
055.00311.000 | Battery harness frame, Calypso
055.00381.000 | Charge extension cable, Calypso
055.00391.000 | Controller harness assy, Calypso
055.00401.000 | Charge extension cable, Winner
055.00411.000 | Rear indicator harness, Winner
055.00421.000 | Controller wire assy, Winner
07002 | Pelothouder strip
09014 | Sticker Atlantic, dark grey
09017 | Sticker Belize, dark grey
09037 | Sticker Pacific, dark grey
09044 | Sticker set Hippo 6 vlakjes, zilver
100.00011.000 | Transaxle assy 10kmph, Calypso
100.00021.000 | Transaxle assy 8kmph, Calypso
100.00031.000 | Transaxle assy 12kmph, Calypso hp
100.00051.000 | TRANSAXLE ASSY CALYPSO >2002
1001230 | Rear frame assy Winner
1001232 | Screw M8xP1.25x75L black
1001233 | Bushing
1001239 | Clip E19
1001242 | Freewheel lever black 140mm, Winner TW
1001246 | Collar
1001247 | Set Screw M8xP1.25x5L
1001257 | Nut M14xP1.5
1001261 | Nut-inserts
1001267 | Scew M10xP1.5x50L
1001271 | Bushing
1001273 | Shroud "j"bracket
1001280 | Break light assy
1001284 | Window post
1001288 | Cover of controller
1001290 | Circuit breaker 60A
1001291 | Cap of circuit breaker 60A
1001295 | Controller bracket
1001302 | Transaxle plate L/H
1001304 | Transaxle plate (RH)
1001305 | Bush
1001306 | Star knob
1001307 | Fix bracker rear shroud
1001308 | Channel front assy
1001309 | Channel front
1001311 | Pivot pin
1001312 | Bush
1001313 | Pivot bush
1001316 | Spring washer SW6 zwart
1001317 | Screw M6xP1.0x10L zwart
1001318 | Channel back
1001320 | Bottom mounting block of tiller
1001321 | Console bottom cover
1001323 | Screw M4x12L
1001324 | Screw M3x8L
1001326 | Front indicator assy
1001327 | Toggle switch wire assy
1001329 | Fuse, wire assy, console
1001331 | Fuse, 2A glass quick blow F
1001332 | Head light extend wire assy
1001333 | Kabelboom richtingaanwijzer Winner
1001334 | Console top cover
1001335 | Head light assy
1001336 | Head light seal
1001338 | Console 8P connector assy Winner
1001342 | Warning light control assy
1001344 | Battery meter bracket
1001345 | Screw M3x8L
1001346 | Stuff inserts the panel
1001355 | Plastic tip finger control (LH) (Grn), Winner
1001356 | Plastic tip finger control (RH) (Yel), Winner
1001365 | Screw M4xP0.7x6L
1001366 | Screw M4xP0.7x10L
1001367 | Flat washer W4
1001368 | Hose clamp
1001370 | Gas spring handle
1001385 | Main harness, Winner
1001387 | Sluitring M10 3D (1.8mm)
1001809 | Voetgas module Trophy EGIS
1002356 | Transaxle Winner incl. bevestigingsmateriaal
1002498 | Bat. Indicator + potentiometer, Cal >2002
1002558 | Controller Interface Trophy
1003101 | Console bottom assy silver, Calypso
1003102 | Console bottom cover silver, Calypso
1003103 | Front cover tiller silver, Calypso
1003104 | Console top assy silver 12k, Calypso
1003105 | Console top silver, Calypso
1003107 | Rear cover silver, Calypso
1003108 | Battery cover assy blue, Calypso
1003109 | Battery cover 3w blue, Calypso
1003263 | Head light ext. cable assy, Calypso
1003267 | Brake kit Winner. Production until 44/08
1003397 | Label 12 kmph max. white on black, round
1003506 | Cap motor brush 8 & 10k, Calypso
1003539 | Front cover 3w assy silver with mat, Calypso
1003540 | Front cover 4w assy silver with mats, Calypso
1003639 | Cap motor brush 12k, Calypso
1004198 | Snap button, TW
1004576 | Floor mat 4w, Winner (Tw)
1004577 | Foot step, Winner-4w TW
1004579 | Front cover / floorplate, Winner-4w TW
1004580 | Side strip, Winner-4w TW
1004581 | Steering tube, Winner-4w TW
1004582 | Knuckle assy RHS, Winner-4w TW
1004583 | Knuckle assy LHS, Winner-4w TW
1004584 | Plug for spring, Winner-4w TW
1004585 | Spring (front), Winner-4w TW
1004586 | Rod Ø8 140mm, Winner-4w-TW
1004587 | Rod Ø8 300mm, Winner-4w-TW
1004588 | Bearing LHS, Winner-4w TW
1004589 | Bearing RHS, Winner-4w TW
1004591 | Frontwheel assy with brake hub, Winner-4w TW
1004593 | Bush Ø16 8mm, Winner-4w TW
1004594 | Brake assy RHS, Winner-4w TW
1004595 | Brake assy LHS, Winner-4w TW
1004596 | Strip, Winner-4w TW
1004597 | Nut M8 for rod LHS, Winner-4w TW
1004598 | Nut M8 for rod RHS, Winner-4w TW
1004599 | Bracket RHS, Winner-4w TW
1004600 | Knuckle RHS , Winner-4w TW
1004601 | Ball bearing, Winner-4w TW
1004602 | Bolt for Knuckle, Winner-4w TW
1004603 | Washer Ø12xØ19x1mm, Winner-4w TW
1004604 | Bracket LHS, Winner-4w TW
1004605 | Knuckle LHS, Winner-4w TW
1004606 | Bush Ø20 8mm, Winner-4w TW
1004626 | Frontframe weldment, Winner-4w TW
1005850 | Thurassic support peadiatric, Torso+
1007078 | Cilinderschroef binnenzesk M5x16/8.8/vz/D912
1007961 | Heavy duty transaxle Trophy Egis
1008342 | Ruilstuur met gashendel links Egis
1008343 | Ruilstuur met gashendel rechts Egis
1008345 | Stuur met gashandel links
1008346 | Stuur met gashandel rechts
1008521 | Remote onderkant tbv WB stuurkast (los)
1009289 | Splash Water Cover
1009325 | Hexagon Bolt M8x25 D933 class 10.9
1009684 | Back tiller shroud Winner new charger plug
1009685 | Transaxle Winner S-drive incl. bev. mat.
1009686 | Transaxle HD Win. S-drive incl. bev. mat.
1009813 | Brake Cable winner 4W
101.00061.000 | Motor 8k, Calypso
101.00071.000 | Motor 10k, Calypso
1010353 | Anti-tip replacement set
1011153 | Back tiller shroud assy new charger plug for
1011586 | Freewheel handle Winner CT
1012123 | Key Winner CT
1012124 | Key Trophy 20/30 CT
1012256 | Voetplateau Winner
1012429 | Shroud set Trophy 20 Black
1012430 | Shroud set Trophy 20 Middle Blue
1012431 | Shroud set Trophy 20 Red
1012432 | Shroud set Trophy 20 Champagne
1012433 | Shroud set Trophy 20 Light Grey
1012516 | Assy Battery cover
1012519 | Assy Seat-post cover
1012521 | Assy rear bumper
1012523 | Assy Seat-post standard
1012524 | Assy steering bar
1012525 | Assy shock absorber front 4W
1012529 | Assy transaxle Alpine (alpine drive set)
1012530 | Assy transaxle Standard (standard drive set)
1012532 | Assy Slider gas spring
1012537 | Assy rear cover red
1012538 | Assy rear cover light grey
1012539 | Assy rear cover champagne
1012540 | Assy rear cover black
1012558 | Mirror set Left Winner
1012559 | Mirror set Right Winner
1012699 | M10 x 100 8.8 VZ DIN 931
1012904 | Transaxle Winner S-drive CT
1014195 | Rear light red scooters
1014661 | rear wheel 8" left black assy
1014662 | Rear wheel 8" Right black assy
1015139 | Standaard met kuitband tbv ZB 50
1015141 | Standaard met kuitplaten tbv ZB 42
1015143 | Standaard met kuitplaten tbv ZB 50
1015144 | Standaard met kuitplaten tbv ZB 54
1015323 | Cable clips
1015363 | Front cover ruby red metallic, trophy 20
1015364 | Front cover platinum white metallic,trophy 20
1015367 | Front cover moonstone blue metallic, trophy20
1015384 | Bumper Front 4W
1015385 | S-drive 90A cap with screws
1015386 | S-drive 90A complete
1015389 | Cane Holder on chassis, Trophy 20
1015401 | Anti-tip set Trophy 20
1015454 | 3W bumper met brackets
1015554 | P-clip 6mm service set (10 pcs)
1016928 | Replacement kit basic
1016929 | Replacement kit Full Options
1016930 | Replacement kit Dual control
1017303 | Sedeo Original ipv Pro (A1061)
1017726 | Mounting set Nuage PLS for Kontiki + BaseOne
103.00141.000 | Motor brush, Calypso
10310 | Seat, Calypso
104.00071.000 | Mounting pad, Calypso
105.00091.000 | Free wheel lever assy, Calypso
108.00231.000 | Brake, Calypso
108.00271.000 | BRAKE ASSY WINNER-3W
108.00291.000 | BRAKE CABLE WINNER
110.00072.000 | FRONT FRAME WINNER-3W
110.00082.000 | REAR SUSPENSION BRIDGE
110.00101.000 | FRONT FRAME 4-W >2002
110.00111.000 | Rear frame top, Calypso
110.00121.000 | Rear frame bottom, Calypso
110.00131.000 | Bush copper rear frame, Calypso
110.00141.000 | SUSPENSION AXLE REAR FRAME
11027 | Cover lift wheelchair, Torso+
11032 | Cover bariatric, Torso+
11038 | accubak deksel (hoog)
110421 | INDICATOR BRACKET 2 SINGLE
11043 | spatbord LINKS lang RWD
11044 | spatbord RECHTS lang RWD
11046 | spatbord vork
110505 | HANDLE COVER BRACKET BOTTOM
110506 | CONSOLE MOUNTING PLATE
110519 | HANDLE COVER BRACKET TOP
11052 | vork met spatbord
110631 | INDICATOR BRACKET 1
112101 | BATTERY METER BRACKET
112401 | POWER CONNECTOR BRACKET
113115 | Axle holder, Calypso
11321030 | Front frame 3w, Calypso
114301 | FRONT BUMPER ANGLE
114516 | COVER BRACKET REAR
120139 | ARM POST
12048 | REMOTE bovenkant
123103 | GUIDE PIN
124.00091.000 | HEAD LIGHT BRACKET ASSY
125.00031.000 | HAND GRIP WINNER
1254 | P-CLIP 6MM KABELHOUDER/STUUR naturel
126.00011.000 | FRONT BUMPER WINNER-3W
126.00021.000 | Rear bumper 3&4w, Front bumper 4w, Winner TW
126.00032.000 | Bumper left Winner-3w
126.00042.000 | Bumper right Winner-3w
126.00052.000 | Bumper rear cover Winner
126.00081.000 | BATTERY BUMPER PAD
131905 | FRONT SHAFT
131908 | PUSH STOPPER ¡19X12L
132001 | SLIDE NUT ¡20X9L
133002 | FRONT COLLAR ¡30X12.7L
133501 | REAR COLLAR
138.00011.000 | FIXATION BELT BATTERIES
138.00021.000 | Battery carrier straps, Calypso
14010 | voetplaat 1-delige beensteun
14054 | voetplaat aansluitend zitbreedte 45 cm
143001 | Rim outer front wheel, Calypso
143003 | Rim outer rear wheel, Calypso
143101 | Tilt lever, Calypso
143102 | Rim inner rear wheel, Calypso
15406 | Thurassic support, Torso+
161.00051.000 | Console bottom assy red, Calypso
161.00061.000 | Console bottom assy green, Calypso
161.00071.000 | Console bottom cover green, Calypso
161.00081.000 | Console top cover green, Calypso
161.00111.000 | Console top assy red 10K, Calypso
161.00131.000 | Console top assy green 10K, Calypso
161.00171.000 | CONSOLE TOP COVER ASSY
161.00181.000 | DISTANCE BUSH WINNER CONSOLE
16101 | H/L Motor
16126 | H/L microswitch + kabel (boven = rol)
16127 | H/L microswitch + kabel (onder = long lever)
16128 | H/L speedlimit-switch + kabel (PG-versie)
162.00031.000 | Controller Solo 110A
162.00041.000 | Controller Solo 60A >2002
16212 | Kantel/rug kabel
165.00071.000 | Throttle control assy, Calypso
165.00081.000 | Speed ctrl. potm. 50k+resistor 120k, Calypso
165.00091.000 | Speed control knop 1/8", Calypso
165.00101.000 | Speed control assy >2003, calypso
170.00342.000 | FRONT WHEEL WINNER-3W
170.00352.000 | REAR WHEEL WINNER
17014 | Werkblad metaaldelen, wegklapbaar
17023 | Ontvangstbuis werkblad, Torso+
17036 | houder begeleiderbesturing PG
17059 | quickRelease as 49x26x8
171.00021.000 | INNER TUBE REAR WHEEL WINNER
172.00051.000 | TYRE REAR WHEEL WINNER
172.00062.000 | FRONT TYRE WINNER-3W 6"
173.00042.000 | RIM INNERSIDE WINNER 6"
173.00052.000 | RIM OUTERSIDE WINNER-3W
176.00172.000 | AXLE FRONT WHEEL WINNER-3W
176.00182.000 | WHEEL MOUNTING BRACKET WINNER3
176.00191.000 | FILLING BUSH VALVE
176.00202.000 | REAR WHEEL MOUNT BRACKET WINNE
176.00221.000 | Front axle assy 4w, Calypso
176.00231.000 | Tie rod short assy, Calypso
176.00241.000 | Tie rod long assy, Calypso
176.00251.000 | COLLAR FRONT WINNER-3W
19001 | Power module Pilot+ 80A
19004 | Stuurkast kabel 1.5 Mtr
19005 | Stuurkast verlichting en actuators
19007 | ALM Verlichting + actuators
19009 | Stekkerset Motor
19011 | Stuurkast kabel 2 Mtr
19013 | ALM Stekker 12 polig
19014 | Stuurkast kabel 2,5 Mtr
19043 | joystickverlengkabel (1m)
19045 | Joystick JC200
19061 | schakelfolie WB-stuurkast
19093 | VR2 connector-set =actuator= D50754
19096 | VR2 Rnet connector-set =inhibit= D50753
20456.0682 | HARMONICABALG
21031 | koolborstel tbv 250 W motor (per stuk)
213005 | Rear cover red, Calypso
214001 | Front cover tiller red, Calypso
214101 | REAR COVER TILLER
21507Li | veerpootsteun anti-kantel links =ASSY=
21507Re | veerpootsteun anti-kantel rechts =ASSY=
220.00111.505 | Comfort kuitplaat 46-50, Sellaskin
22000 | beugel koplamp halogeen
22003 | sluitring halogeen
22004 | plaatje achterzijde halogeen
221001 | SLIDE WASHER
221601 | SEAT POST BUSH
221704 | SWING LEVER BUSHING
222003 | FREE WHEEL LEVER KNOB ¡20M6
225001 | SMALL WHEEL ¡76.5X22
226003 | Bumper PVC, Calypso
229001 | THUMB SCREW 3/8" 16 UNC
231002 | Foot mat (LH/RH) 4w, Calypso
231007 | Floor mat 3w, Calypso
233.00011.000 | Armsteun in hoek verstelbaar 30cm rechts
233.00111.000 | Armsteun in hoek verstelbaar 30cm links
234001 | SEAT LEVER POCKET
235001 | SHROUD PAD
242001 | HANDGRIP
242002 | Battery pad, Calypso
242003 | BASKET BRACKET PAD
243001 | BATTERY BOX STRAP & CATCH
258.00321.000 | ANTI TIP IBIS-2 SET
264.00151.000 | Bulb 24V 10W BA9S
265.00081.000 | Winner basket assy
29019 | kabel halogeen + fitting
29520 | licht unit kap Belize H/L GEMONTEERD
305201 | Console top cover red, Calypso
305301 | Console bottom cover red, Calypso
321101 | Circuit breaker 25A, Calypso
322001 | HORN SWITCH
322101 | HEAD LIGHT SWITCH
322201 | KEY SWITCH
330303 | Fuse, holder 2A 250V
330801 | FRONT INDICATOR L/R
332001 | GROMMET ¡25
336102 | Circuit breaker cap, Calypso
4.10021 | ZESKANT BOUT M8 x 30 D931 VZ
4B2006 | BALL BEARING 6202ZZ
4K1002 | TRANSAXLE KEY 5X5X45
4S2001 | SUSPENSION SPRING ¡4.5
4S3001 | TORSION SPRING
4S3002 | TILTIG WEDGE SPRING
512003 | CONSOLE UPPER DECAL 8K
512102 | CONSOLE SIDE DECAL
512201 | CIRCUIT BREAKER DECAL
53017 | Sleeve wig-wag plat oranje
57012 | Mand groot
6B10801 | HEX BOLT M8X120X50
6N9508 | TAPER NUT
7000094 | Seat Fixation
76005 | prop actuator rugverstelling Kid-Fit
86004 | rugactuator =Atlantic= (150mm)
90000020 | HEAD LIGHT ASSY DOUBLE
9000647 | Pre assy electrobox welded
9000703 | Tas voorzijde
9000774 | Quick power battery connector red
9000775 | Quick power battery connector black
9000872 | Adhesive logo button
9001503 | Bracket Masterseat slide restrictor, Calypso
9001969 | Shim ring 1.0mm 16x22mm D988
9002180 | Tiller harness with PCB by-pass, TR6
9002181 | Egis - PCB rear harness with key contact, TR6
9002188 | Interface harness key switch, TR6
9002190 | Egis - PCB rear harness key & foot throt, TR6
9002232 | Logo button Handicare
9002341 | M8*30 LBKS BZK PRECOTE 85
9002671 | Ruilstuur met gashendel links, S-Drive
9003089 | Controller bracket Winner Sdrive
9003091 | Winner steering plate
9003092 | Plastic tip thumb control LH yellow 66mm
9003093 | Plastic tip thumb control LH green 66mm
9003107 | Main Harness Winner Sdrive
9003154 | Tiller parallel assy
9003239 | Transaxle heavy duty Winner Solo 108541
9003243 | Brake kit Trophy S-Drive, microswitch open, p
9003392 | Frame weld assy 4w
9003403 | Steering shaft assy 4w
9003417 | Rearbridge CPL assy
9003440 | Frame weld assy 3w
9003444 | Frame bracket nose front
9003457 | Nose front light cover
9003458 | Nose front top
9003462 | Roll bar
9003466 | Side skirt left 4w
9003467 | Side skirt right 4w
9003468 | Floormat Buran 4w
9003474 | Side skirt left 3w
9003475 | Side skirt right 3w
9003476 | Floormat 3 wheel
9003478 | Indicator light Trophy LED 24V
9003479 | Reflector orange
9003480 | Reflector Red
9003484 | Charger socket cover
9003553 | Fuse 5A fast acting glass 6.3x32mm
9004126 | Tiller flap
9004129 | Motor cover
9004133 | Fender bracket RHS
9004141 | Drumbrake plate assy LHS
9004143 | Brake drum 110 mm
9004146 | Tyre 300-8, Innova, black light patterned IA
9004153 | Front fork damped assy
9004159 | Wheel 3,00-8", Split Rim, Silv. Powd. Coat. A
9004169 | Tiller tube assy
9004175 | Steer column spline UJ
9004181 | Tiller strip assy
9004190 | Tiller lever spacer
9004191 | Tiller lever
9004330 | Drumbrake lever with switch assy
9004419 | Charger harness assy Trophy 20
9004428 | Front light 24V assy
9004442 | Tiller cover front red metallic
9004445 | Tiller cover front light grey metallic
9004448 | Tiller cover front champagne metallic
9004451 | Tiller cover front black metallic
9004454 | Tiller cover front blue metallic
9004511 | Wheel 12 1/2"x 2 1/4", Grey P.C. Alu. Rim Wit
9004564 | Brake mounting
9004569 | Hexagon flange bolt M8x12 8.8DIN6921
9004570 | Inner fender 3w LHS
9004571 | Inner fender 3w RHS
9004572 | Inner fender 4w LHS
9004573 | Inner fender 4w RHS
9005607 | Spiral pin heavy duty 6x32 DIN1481
9005689 | Cable clip 11x8.6
9005853 | Brake drum 110 mm LHS
9005911 | Interface bracket S-Drives
9005927 | Hexagon head bolt M4x20 zinc plated 8.8DIN931
9005928 | Hexagon head bolt M4x12 zinc plated 8.8DIN931
9006042 | Hexagon socket head cap screw M10x85 DIN912
9006079 | Mudwing repair washer zinc plated M4x20x1.2
9006080 | Hexagon socket head cap screw M5x25 DIN912
9006094 | INdicator light Trophy LED 12V
9006095 | Main Harness assy Trophy 20-BU
9006096 | Nose harness 20 Trophy 20-BU
9006097 | Power harness assy 90A Trophy 20-BU
9006101 | Power harness assy 120A
9006105 | Claxon 6V
9006106 | Indicator switch assy Left/Right Tropyh BU-B
9006124 | Movable tule AMB-2
9006129 | Adhesive rubber strip
9006130 | Basket interface big basket weld assy
9006137 | Big basket Trophy
9006157 | Ring captain seat post cover upper
9006167 | Tiller cover bottom dual hand throttle
9006193 | Brake harness extension
9006418 | Cover mirror interface
9006561 | Power harness Sdrive 120A/140A
9006562 | Power harness Sdrive 90A
9006563 | Battery harness 60A
9007273 | Bracket bumper 3w right
9007274 | Bracket bumper 3w left
9007275 | Bumper front 3w
9007301 | Drum brake actuator cable assy
9007303 | Tiller cover back assy
9007355 | Edge protection profile
9007360 | Gassping unlock mechanism modified
9007368 | Sticker Alpine
9007436 | Rear wheel 8" black light block profile assy
91084 | gasveer tbv mech. instelbare rug (500N)
91093 | kogellager WB-actuator
91113 | kogellager 6001-2RS1
91120 | Stauff-beugel Ø 25 alu
92500040 | Front rear latch plate, Calypso
99033 | Reflector rood langwerpig
AC10100 | Accubakdeksel hoog
AC40012L | Verlichtingsunit L.halo hippo
AC40012R | Verlichtingsunit R.halo hippo
AL10001 | Armleggersteun kompleet Kon
AL10010 | extra armst.set (tbv dubb)
AL10340 | P-vormige armleggers
AL10350 | Armleggers BO 20 en 24inch
AL10421 | Armleggers zwart leer
AL92000 | Hemi armlegger
B213101 | Battery cover 3w red, Calypso
B213102 | Battery cover 3w green, Calypso
B24F02 | Front wheel assy with bearing 3 & 4w, Calypso
B24R02 | Rear wheel assy with bearing 3 & 4w, Calypso
B61004 | Front cover 3w assy red with mat, Calypso
B63004 | Rear cover assy red, Calypso
BA10001 | Gasveer rugverstelling
BA10006 | Rugverstelling mech ELRO
BA10500 | Rugverstelling electrisch Atlantic
BA10700 | Orthese rugframe
BA11300 | Bandenrugleuning nastelbaar 30
BA11365 | OSS metaald inclusief zitd 30
BA11375 | OSS Pelotten (per set).
BA12365 | OSS metaald inclusief zitd 35
BA16301 | Bandenrug nastelbaar Rubber 60
BA16311 | Bandenrug sterk geprof. Passief Rub 60
BA16316 | Spanbandenrug Aktief, rubber 60
BA17301 | Bandenrug nastelbaar Rubber 65
BA17311 | Bandenrug sterk geprof. Passief Rub 65
BF10005 | Fixatie-ogen achterBelize etc.
BF10015 | Fixatieogen achterzijde Mid/An
BF10020 | 4 punts fix.ogen, crash getest
BF10025 | Fixatieogen voorz RWD
BF10030 | Bierman taxifixatie RWD
BF10045 | Bierman taxifixatie Hippo
BF10055 | Fixatie ogen Hippo voorzijde
BF10060 | Fixatieogen achter Hippo
BL10002 | ijzerw wegklap wb met ontv.
BL10080 | Opstaande rand 3 cm hoog
BL11410 | Werkblad Acryl tbv middenb. WB enP+ Pediatric
BS10010 | Haakse beensteunen
BS10327 | Comfort beensteunen zonder onderbuis L+R
BS30014L | Montagepl bs houd scharn. L
BS30014R | Montagepl bs houd scharn. R
BS30016L | Bovenbuis bs met vergr. Links
BS30016R | Bovenbuis bs met vergr. Rechts
BS76000 | Aanp: Eend bs. el. h/l e Hippo
C11003 | Fork 3w, Calypso
C12002 | Front axle 4w, Calypso
C12101 | KNUCKLE & SPINDEL (RH)
C12102 | KNUCKLE & SPINDEL (LH)
C13010 | Steering axle 4w, Calypso
C14005 | TILTING TILLER
C15003 | TILTING CONNECTOR
C16001 | JOY-STICK
C35001 | Rear bumper, Calypso
C41005 | Seat frame, Calypso
C42003 | SEAT POST
C44003 | ARMLEGGER
C91101 | FRONT BASKET BRACKET
C91102 | FRONT BASKET HOLDER
DX10040 | Begeleider besturing DX +kabel
HE10333 | Flexibele hoofdsteun met houder
HK10010 | El. hl/kant midw/antibes
HK11001 | Kantel verst.motor H/L HIP/RHI
LI10000 | Lichtinst. incl. module Capri
LS10017 | Lagerset 17mm incl frictie.
MI10010 | Spiegel tbv montage uitn
PI10010 | Stuurkast L+ V Pilot+ incl. stuurkast houder
PI10021 | VerstellingsLichtmodule
PI10400 | Stuurkast middenbest.WB
PI10600 | Pilot+ Stuurkast middenbest.+licht
RR10000 | Rijrichtinghouders
RR11001 | Rijrichtinghouders Hippo
SE10000 | Elektrische kantel Bel/Cap
SE10002 | Kant verst.motor BE/CA geen HL
SE10500 | Elektr.kantelverst. Atlantic
SE10510 | Elektr.kantelverst. Pacific
SH10000 | Stokhouder, bak + lusje
SP10020 | Spatb. aangedr. wielen RWD
SP10030 | Spatborden set tbv zwenkwielen
SP10040 | Spatborden set aangedr.wiel Hippo
VL10021 | Frictieset 17mm.
VL10030 | Vork en lagerset Bariatric (dubbellucht)
ZK10320L | Zijkussen gepolsterd links
ZK10320R | Zijkussen gepolsterd rechts